## Due Dates
CHELTENHAM GENERAL HOSPITAL & OFFSITE PERIPHERALS FIXED WIRE TESTING RENEW DATES
Phase | Area (includes all levels and locations) | Last Fixed Test Date | Due Date | Change to date (To spread out) | Previous Certificate Reference and Company | Comments
Zone one | Day Surgery unit | 2019 | 2024 | 2024 | 58262 Norwood Electrical | Cert Received
| St Lukes 2 | 2019 | 2024 | 2024 | 57539 Norwood Electrical | Cert Received
| St Pauls | 2021 | 2026 | 2024 | 73532 Norwood Electrical | Cert Received
Zone two | College Road Wing | 2022 | 2027 | 2025 | 42937 Norwood Electrical | Awaiting Cert
| Surgical block | 2021 | 2026 | 2025 | 73533.1 & 73533.2 Norwood Electrical | Cert Received
| Thirlestaine Court | 2021 | 2026 | 2025 | 73534 Norwood Electrical | Cert Received
Zone three | Alex House | 2022 | 2027 | 2026 | 83730 Norwood Electrical | Cert Received
| Riverside house, Annexe & Workshops | 2022 | 2027 | 2026 | 83733 Norwood Electrical | Cert Received
| Sandford EC | 2022 | 2027 | 2026 | 83734 Norwood Electrical | Cert Received
| St Lukes 1 | 2022 | 2027 | 2026 | 83735 Norwood Electrical | Cert Received
Zone four | Parkside | 2022 | 2027 | 2027 | 83732 Norwood Electrical | Cert Received
| Boiler house | 2023 | 2028 | 2027 | 95293 Norwood Electrical | Cert Received
| College Baths | 2023 | 2028 | 2027 | 95291 Norwood Electrical | Cert Received
| Cunningham house | 2023 | 2028 | 2027 | 95294 Norwood Electrical | Cert Received
Zone five | East Block | 2018 | 2028 | 2028 | 95297 Norwood Electrical | Cert Received
| Oncology & LEN | 2023 | 2028 | 2028 | 95298 Norwood Electrical | Cert Received
| Pathology & (LINC) | 2023 | 2028 | 2028 | 95301 Norwood Electrical | Cert Received
| West Block, Link corridor & Fluid store | 2018 | 2028 | 2028 | 95302 Norwood Electrical | Cert Received

## Boards & Circuits
CHELTENHAM GENERAL HOSPITAL & OFFSITE PERIPHERALS FIXED WIRE TESTING RENEW DATES
Retest Year | Location | Area & Floor Level | Panel / DB Ref | Panel / DB Location | Supply Source | Number of Circuits | Total circuits
2024 | Day Surgery | Ground floor (Corridor) | DSU LV panel | DSU LV S/S | HV Ring | 20 | 467
|  | Ground floor (Corridor) | DB Ext Lighting | DSU LV S/S | DSU LV panel | 9
|  | Ground floor (Corridor) | DB TBE/MPLE | Oncology LV S/S | DSU LV panel | 14
|  | Ground floor (Corridor) | DB TBNE/MPPN | Oncology LV S/S | DSU LV panel | 20
|  | Ground floor (Corridor) | DB TBE/MPPE | Oncology LV S/S | DSU LV panel | 15
|  | Ground floor (Corridor) | DB TBNE/MPLN | Oncology LV S/S | DSU LV panel | 8
|  | Ground floor (Corridor) | DB HSPE | Switchroom (0.37) | DSU LV panel | 40
|  | Ground floor (Corridor) | DB HSLN | Switchroom (0.37) | DSU LV panel | 14
|  | Ground floor (Corridor) | DB HSPN | Switchroom (0.37) | DSU LV panel | 9
|  | Ground floor (Corridor) | DB HSLE | Switchroom (0.37) | DSU LV panel | 26
|  | Ground floor (Medical Engineering) | DB ME | Medical Engineering Workshop | DB MPPE | 10
|  | 1st floor (Chedworth Surgical Unit) | DB ENPN | Chedworth electrical cupboard | DSU LV panel | 28
|  | 1st floor (Chedworth Surgical Unit) | DB ENPE | Chedworth electrical cupboard | DSU LV panel | 29
|  | 1st floor (Chedworth Surgical Unit) | DB ENLN | Chedworth electrical cupboard | DSU LV panel | 14
|  | 1st floor (Chedworth Surgical Unit) | DB ENLE | Chedworth electrical cupboard | DSU LV panel | 7
|  | 1st floor (CSSD room in GT) | DB THLN | General Theatres electrical cupboard | DSU LV panel | 7
|  | 1st floor (CSSD room in GT) | DB THLE | General Theatres electrical cupboard | DSU LV panel | 20
|  | 1st floor (CSSD room in GT) | DB THPN | General Theatres electrical cupboard | DSU LV panel | 20
|  | 1st floor (CSSD room in GT) | DB THPE | General Theatres electrical cupboard | DSU LV panel | 20
|  | 2nd floor (Prescott ward) | DB EWPE | Staff Office side electrical cupboard | DSU LV panel | 21
|  | 2nd floor (Prescott ward) | DB EWPN | Staff Office side electrical cupboard | DSU LV panel | 21
|  | 2nd floor (Prescott ward) | DB EWLN | Staff Office side electrical cupboard | DSU LV panel | 12
|  | 2nd floor (Prescott ward) | DB EWLE | Staff Office side electrical cupboard | DSU LV panel | 6
|  | 2nd floor (Prescott ward) | DB WWLN | Nurse station side electrical cupboard | DSU LV panel | 5
|  | 2nd floor (Prescott ward) | DB WWPN | Nurse station side electrical cupboard | DSU LV panel | 23
|  | 2nd floor (Prescott ward) | DB WWLE | Nurse station side electrical cupboard | DSU LV panel | 11
|  | 2nd floor (Prescott ward) | DB WWPE | Nurse station side electrical cupboard | DSU LV panel | 20
|  | 3rd floor plant room | DB TPPLE | Prescott plant room | DSU LV panel | 18
2024 | St Lukes 2 | Ground floor (Basement) | DB MLV/1 | St Lukes 2 LV S/S (Basement) | St Lukes 2 LV panel | 13 | 313
|  | Ground floor (Basement) | DB MLV/2 | St Lukes 2 LV S/S (Basement) | St Lukes 2 LV panel | 10
|  | Ground floor (Basement) | DB BED WORKSHOP | St Lukes 2 Bed workshop | DB MLV/2 | 5
|  | Ground floor (Basement) | DB EFD STORES | St Lukes 2 Estates Stores | DB BED WORKSHOP | 2
|  | Ground floor (Basement) | DB OLP | St Lukes 2 Basement plant room | DB MLV/2 | 12
|  | Ground floor (Basement) | TEST DB | St Lukes 2 Basement plant room | DB MLV/1 | 5
|  | 1st floor | DB IT1 | Level 1 Hub room in Cardiac ward | DB MLV/1 | 6
|  | 1st floor | DB 1P1 | Level 1 Pantry | DB MLV/2 | 7
|  | 1st floor | DB 1LP | Level 1 DCC electrical cupboard | DB MLV/1 | 29
|  | 1st floor | DB 1LP1 | Level 1 DCC electrical cupboard | DB MLV/2 | 31
|  | 2nd floor | DB 2LP1 | Level 2 Ryeworth electrical cupboard | DB MLV/2 | 44
|  | 2nd floor | DB 2LP | Level 2 Ryeworth electrical cupboard | DB MLV/1 | 37
|  | 2nd floor | DB 2P1 | Level 2 Ryeworth kitchen | DB MLV/1 | 7
|  | 3rd floor | DB 3LP | Level 3 Woodmancote electrical cupboard | DB MLV/1 | 45
|  | 3rd floor | DB 3LP1 | Level 3 Woodmancote electrical cupboard | DB MLV/2 | 42
|  | 3rd floor | DB 3P1 | Level 3 Woodmancote kitchen | DB MLV/1 | 4
|  | 3rd floor | DB IT2 | Level 3 Hub room in Woodmancote | DB MLV/2 | 6
|  | 4th floor | DB 4LP | Level 4 Roof plant room (Woodmancote AHU) | DB MLV/1 | 8
2024 | St Pauls | Ground floor | Main Panel | Maternity LV S/S | College Road Wing LV S/S | 25 | 462
|  | Ground floor | EXT DB 1 | Maternity LV S/S | Main Panel | 4
|  | Ground floor | DB 9 | Glasshouse café rear corridor | Main Panel | 16
|  | Ground floor | DB LIFT 12 | Motor room opposite Lift 12 | Main Panel | 7
|  | Ground floor | DB LIFT 13 | Lift 13 motor room (0.02) | DB 2 | 5
|  | Ground floor | DB A | Catering Hub | Main Panel | 9
|  | Ground floor | DB Fluid Store | Fluid Store | DB A Catering Hub | 7
|  | Ground floor | DB 1 | Orthopaedic OPD electrical cupboard | Main Panel | 22
|  | Ground floor | EDB 1 | Orthopaedic OPD electrical cupboard | Main Panel | 27
|  | Ground floor | DB 2 | Pre assessment electrical cupboard | DB A Catering Hub | 27
|  | Ground floor | EDB 2 | Pre assessment electrical cupboard | DB A Catering Hub | 26
|  | 1st floor | DB 3 | Snowshill electrical cupboard | Main Panel | 28
|  | 1st floor | EDB 3 | Snowshill electrical cupboard | Main Panel | 18
|  | 1st floor | DB 4 | Bibury electrical cupboard | Main Panel | 31
|  | 1st floor | EDB 4 | Bibury electrical cupboard | Main Panel | 14
|  | 1st floor | DB 4AP | Bibury electrical cupboard | DB 4 | 7
|  | 3rd floor | DB 5 | Neonatal electrical cupboard | Main Panel | 26
|  | 3rd floor | EDB 5 | Neonatal electrical cupboard | Main Panel | 21
|  | 3rd floor | DB 6 | Birth Unit electrical cupboard | Main Panel | 15
|  | 3rd floor | EDB 6 | Birth Unit electrical cupboard | Main Panel | 21
|  | 3rd floor | DB 7 | Birth Unit electrical cupboard | Main Panel | 14
|  | 3rd floor | EDB 7 | Birth Unit electrical cupboard | Main Panel | 33
|  | 3rd floor | DB UPS | St Pauls theatre UPS DB room (3.52) | Main Panel | 32
|  | 3rd floor plant room (roof space) | DB 8 | St Pauls plant room | Main Panel | 7
|  | 3rd floor plant room (roof space) | EDB 8 | St Pauls plant room | Main Panel | 7
|  | 3rd floor plant room (roof space) | DB CP1 | St Pauls plant room | Main Panel | 13
2025 | Surgical Block New Old | Ground floor | DB WD7 SP1 | Under surgical block stairwell | West Centre Switchroom | 7 | 303
|  | Ground floor | DB WD7 SP2 | Under surgical block stairwell | DB WD7 SP1 | 7
|  | Ground floor | DB WD7 SP3 | Under surgical block stairwell | DB WD7 SP2 | 10
|  | Ground floor | DB WD7 SP4 | Under surgical block stairwell | DB WD7 SP1 | 2
|  | Ground floor | DB WD 75 P2 | Trust Union office | DB WD7 SP1 | 5
|  | Ground floor | DB WD7 DB2 | Avening Ward electrical cupboard | DB WD7 SP2 | 49
|  | 2nd floor | DB WD8 DB1 | Kemerton Ward electrical cupboard | DB WD7 SP1 | 24
|  | 3rd floor | DB WD9 DB2 | Oakley ward electrical cupboard | DB WD7 SP2 | 39
|  | 3rd floor | DB1 | Tank room corridor top of stairwell | DB WD7 SP1 | 12
|  | 4th floor | DB2 | Plant room adj lift 5 & 6 plant room | DB WD7 SP2 | 9
|  | Ground floor | GEC miniform switch panel | LV cupboard in corridor outside linen room (0.554) | Centre Switchroom B | 13
|  | Ground floor | TGP FB1 | Above GEC miniform panel (0.554) | GEC miniform panel | 16
|  | Ground floor | TGP FB2 | Above GEC miniform panel (0.554) | GEC miniform panel | 16
|  | Ground floor | FB 2A | Medical Photography cleaners cupboard (0.538) | GEC miniform panel | 19
|  | Ground floor | FB 3A | Pamington Suite dirty utility (0.523) | GEC miniform panel | 20
|  | Ground floor | DB COLP | Lansdown Suite cupboard in waiting room (0.475) | GEC miniform panel | 21
|  | Ground floor | DB COMMS | Room (0.474) in corridor opposite lifts 5 & 6 | TGP FB2 | 3
|  | 3rd floor | DB GT1 & 2 | GT1 & 2 Plant room | GEC miniform panel | 15
|  | 4th floor | LMR Panel board | Lift 5 & 6 plant room | GEC miniform switch panel | 3
|  | 4th floor | DB LMR-1 | Lift 5 & 6 plant room | LMR Panel board | 13
2025 | Thirlstaine Court | Ground floor | Main panel / Transformer | Enclosure in car park | Street (National Grid) | 1 | 168
|  | Ground floor | Enclosure DB | Enclosure in car park | Main panel / Transformer | 3
|  | Basement | Main panel board | LV switch room (0.04) | Main panel / Transformer | 13
|  | Basement | DB B1 | LV switch room (0.04) | Main panel board | 12
|  | Lower ground floor | DB LG1 | Reception cupboard | Main panel board | 27
|  | Lower ground floor | DB LG2 | Store room (1.33) | Main panel board | 17
|  | Lower ground floor | DB LG5 | Waiting room (1.58) | Main panel board | 12
|  | Lower ground floor | DB MAMMOGRAM 1 | Mammogram room 1 | DB LG4 | 4
|  | Lower ground floor | DB MAMMOGRAM 2 | Mammogram room 2 | DB LG4 | 4
|  | Lower ground floor | DB MAMMOGRAM 3 | Mammogram room 3 | DB LG4 | 4
|  | Upper ground floor | DB LG3 | Store room | Main panel board | 20
|  | Upper ground floor | DB LG4 | Store room | Main panel board | 12
|  | Upper ground floor | DB G1 | Store room | Main panel board | 19
|  | 1st floor | DB F1 | Store room (3.06) | Main panel board | 15
|  | 2nd floor | DB S1 | Store room (4.10) | Main panel board | 5
2025 | College Road Wing | Level 1 | Main LV panel | CRW LV S/S (C004) | CRW HV S/S | 47 | 1141
|  | Level 1 | Panel CR/12 | CRW LV S/S (C004) | Main LV panel | 19
|  | Level 1 | DB Local | CRW LV S/S (C004) | Main LV panel | 35
|  | Level 1 | EXT lighting DB | CRW LV S/S (C004) | DB Local | 2
|  | Level 1 | DB Air tube | CRW plant room outside LV room (C007) | DB Local | 9
|  | Level 1 | DB Water treatment | CRW plant room outside LV room (C007) | DB Local | 7
|  | Level 1 | DB-CR-35 | Medical air plant room | Main LV panel | 4
|  | Level 1 | DB VP | Corridor store room (C022) | Panel CR/14A | 6
|  | Level 1 | Panel CR/9 | College road plant room (D026) inc 2 x internal DB's | Main LV panel | 36
|  | Level 1 | DB-CR-W2 | College road plant room (D026) | Panel CR/9 | 6
|  | Level 1 | DB VE | College road plant room (D026) | Panel CR/9 | 3
|  | Level 1 | Panel CR/14A | Corridor electrical cupboard (B050) | Main LV panel | 10
|  | Level 1 | DB-CR-14A-4 | Corridor cupboard (D027) | Panel CR/14A | 42
|  | Level 1 | DB-CR-14A-6 | Corridor cupboard (B050) | Panel CR/14A | 14
|  | Level 1 | DB-CR-14A-7 | Medical Day Unit electrical cupboard (B062) | Panel CR/14A | 37
|  | Level 1 | Panel CR/14B | Corridor electrical cupboard (B049) inc 3 x internal DB's | Panel CR/14A | 33
|  | Level 1 | DB-CR-14B-3 | X-Ray 1 electrical cupboard (D024) | Panel CR/14B | 17
|  | Level 1 | DB-CR-14B-5 | A&E electrical cupboard by staff room (B134) | Panel CR/14B | 40
|  | Level 1 | DB-CR-14B-6 | X-Ray 1 electrical cupboard (D024) | Panel CR/14B | 20
|  | Level 1 | DB-CR-14B-6A | X-Ray 1 electrical cupboard (D024) | DB-CR-14B-6 | 4
|  | Level 1 | Panel CR/49 | Corridor electrical cupboard (A034) inc 2 x internal DB's | Main LV panel | 30
|  | Level 1 | DB B007 | A&E Store room (B007) | DB-CR-14B-5 | 5
|  | Level 1 | DB-CR-49-2 | A&E Children waiting area electrical cupboard (A040) | Panel CR-49 | 26
|  | Level 1 | DB CTS/DB1A | X-Ray 1 electrical cupboard (D022) | Miniform Panel CR-W3-B | 16
|  | Level 1 | Miniform Panel CR-W3-B | X-Ray 1 electrical cupboard (D022) | Panel CR/12 | 4
|  | Level 1 | DB-CR-W3-B9 | X-Ray 1 electrical cupboard (D034) | Panel CR/12 | 2
|  | Level 1 | DB-CR-W3-B9-2 | X-Ray 1 electrical cupboard (D034) | DB-CR-W3-B9 | 16
|  | Level 2 | Panel CR/25 | Corridor electrical cupboard (B146) inc 2 x internal DB's | Main LV panel | 24
|  | Level 2 | DB-CR-25-3 | Radiology 2 electrical cupboard (D137) | Panel CR-25 | 12
|  | Level 2 | DB-CR-25-5 | Battledown OPD electrical cupboard (B142) | Panel CR-25 | 32
|  | Level 2 | DB-CR-25-6 | Radiology 2 electrical cupboard (D137) | Panel CR-25 | 50
|  | Level 2 | DB GAM ULT L2 | Radiology 2 electrical cupboard (D144) | Isolater 2 (D142/2) | 11
|  | Level 2 | Panel CR/66 | Corridor cupboard (A148) inc 2 x internal DB's | Main LV panel | 11
|  | Level 2 | DB-CR-66-2 | Hartpury electrical cupboard (A143) | Panel CR/66 | 50
|  | Level 2 | DB-CR-66-3 | Cath labs electrical cupboard (C140) | Panel CR/66 | 37
|  | Level 2 | DB-CR-66-6 | Cath labs electrical cupboard (C140) | Panel CR/66 | 32
|  | Level 2 | DB1 | Isotopes room (D111) | Isolater 1 (D142/2) | 6
|  | Level 3 | DB-CR-8 | Dixton ward electrical cupboard (C222) | Main LV panel | 40
|  | Level 3 | DB-CR-52-2 | ACUC electrical cupboard (A223) | Panel CR/52 | 32
|  | Level 3 | Panel CR/16A | Corridor electrical cupboard (B242) | Main LV panel | 9
|  | Level 3 | DB-CR-16A-12 | Electrical cupboard outside Phoenix theatre (D234) | Panel CR/16A | 59
|  | Level 3 | Panel CR/16B | Corridor electrical cupboard (B241) inc 3 x internal DB's | Panel CR/16B | 26
|  | Level 3 | DB-CR-16B-2 | Dixton ward electrical cupboard (C222) | Panel CR/16B | 12
|  | Level 3 | DB-CR-16B-3 | Electrical cupboard outside Phoenix theatre (D234) | Panel CR/16B | 8
|  | Level 3 | DB-CR-16B-6 | Tivoli electrical cupboard (B236) | Panel CR/16B | 39
|  | Level 3 | DB-CR-16B-7 | Electrical cupboard outside Phoenix theatre (D234) | Panel CR/16B | 16
|  | Level 3 | DB-CR-46 | Dixton ward electrical cupboard (C222) | Main LV panel | 8
|  | Level 3 | GLOBE THEATRE UPS DB | Electrical cupboard (D244) | Main LV panel | 18
|  | Level 3 | DB RECOVERY UPS | Electrical cupboard outside Phoenix theatre (D234) | GLOBE THEATRE UPS DB | 5
|  | Level 3 | Panel CR/52 | Corridor electrical cupboard (A243/1) inc 2 x internal DB's | Main LV panel | 9
|  | Level 4 | Panel CR/15 | Plant room 2 inc 1 x internal DB (B301) | Main LV panel | 10
|  | Level 4 | Panel CR/48 | Electrical cupboard (E307) in physio room off corridor (E312) inc 2 x internal DB's | Main LV panel | 8
|  | Level 4 | DB-CR-48-3 | Alstone electrical cupboard (D333) | Panel CR/48 | 35
|  | Level 4 | Panel CR/50 | Plant room 1 inc 1 x internal DB (A301) | Main LV panel | 13
|  | Level 5 | Panel CR/54 | Lift 8 & 9 motor room (E401) inc 1 x internal DB | Main LV panel | 12
|  | Level 5 | Motor room DB | Lift 8 & 9 motor room (E401) | Panel CR/54 | 15
|  | Level 5 | Panel CR/13 | Plant room 3 inc 1 x internal DB (D401) | Main LV panel | 12
2026 | Alex House | Ground floor | Main Panel | LV Switchroom behind Library (0.02) | Centre Switchroom B | 16 | 129
|  | Ground floor | DB EXT Lights West | LV Switchroom behind Library (0.02) | Main Panel | 3
|  | Ground floor | DB LTS West | LV Switchroom behind Library (0.02) | Main Panel | 6
|  | Ground floor | DB PWR West | LV Switchroom behind Library (0.02) | Main Panel | 12
|  | Ground floor | DB LTS East | Consultants office (0.36) | Main Panel | 6
|  | Ground floor | DB PWR East | Consultants office (0.36) | Main Panel | 9
|  | 1st floor | DB LTS West | West store cupboard (1.03) | Main Panel | 8
|  | 1st floor | DB PWR West | West store cupboard (1.03) | Main Panel | 15
|  | 1st floor | DB LTS East | East electrical cupboard (1.29) | Main Panel | 6
|  | 1st floor | DB PWR East | East electrical cupboard (1.29) | Main Panel | 11
|  | 2nd floor | DB LTS West | West electrical cupboard (2.18) | Main Panel | 7
|  | 2nd floor | DB PWR West | West electrical cupboard (2.18) | Main Panel | 15
|  | 2nd floor | DB LTS East | East electrical cupboard (2.32) | Main Panel | 6
|  | 2nd floor | DB PWR East | East electrical cupboard (2.32) | Main Panel | 9
2026 | Riverside House | Ground floor | Main LV panel | Electrical cupboard (RH001-16) in IT store room (RH001-15) | Street (National Grid) | 12 | 187
|  | Ground floor | Sub main panel | Electrical cupboard (RH001-16) in IT store room (RH001-15) | Main LV panel | 4
|  | Ground floor | DB 4 | Electrical cupboard (RH001-16) in IT store room (RH001-15) | Main LV panel | 10
|  | Ground floor | DB 5 | Electrical cupboard (RH001-16) in IT store room (RH001-15) | DB 8 | 10
|  | Ground floor | DB 7 | Electrical cupboard (RH001-16) in IT store room (RH001-15) | Main LV panel | 11
|  | Ground floor | DB 8 | Electrical cupboard (RH001-16) in IT store room (RH001-15) | Main LV panel | 35
|  | Ground floor | WS-MCCB | Electrical workshop in Estates (G04) | Main LV panel | 3
|  | Ground floor | WS 1 | Electrical workshop in Estates (G04) | WS-MCCB | 30
|  | Ground floor | WS 2 | Mechanical workshop in Estates (G02) | WS-MCCB | 22
|  | Ground floor | WS 3 | Electrical EO office (G18) | WS-MCCB | 6
|  | 1st floor | DB FL1 | Kitchen (RH101-06) | Sub main panel | 15
|  | 2nd floor | DB FL2 | Rear of office (RH201-06) | Sub main panel | 16
|  | 2nd floor | DB Boiler house | External boiler room (RH201-12) | DB FL2 | 4
|  | 3rd floor | DB FL3 | Kitchen (RH301-03) | Sub main panel | 9
2026 | Sandford Education Centre | Ground floor | Main LV panel | External boiler room (CA001-27) | Street (National Grid) | 9 | 205
|  | Ground floor | DB 3 | External boiler room (CA001-27) | Main LV panel | 32
|  | Ground floor | DB 5 | External boiler room (CA001-27) | Main LV panel | 27
|  | Ground floor | DB 1 | Ground floor electrical cupboard (CA001-14) | Main LV panel | 56
|  | 1st floor | DB 2 | 1st floor electrical cupboard (CA101-24) | Main LV panel | 54
|  | 1st floor | DB 4 | 1st floor electrical cupboard (CA101-24) | Main LV panel | 27
2026 | St Lukes 1 | Ground floor (Basement) | WSRSP SUBA | Basement electrical cupboard (Room 0.36) | Main LV panel | 4 | 359
|  | Ground floor (Basement) | DB-BLPE1 | Basement electrical cupboard (Room 0.36) | WSRSP SUBA | 37
|  | Ground floor (Basement) | DB-BLPE2 | Basement electrical cupboard (Room 0.36) | WSRSP SUBA | 17
|  | 1st floor | Main LV panel | St Lukes 1 S/S (Room 1.22 in Cardiac Ward) | North S/S (NSSLV2 panel) | 14
|  | 1st floor | DB-EXLI | St Lukes 1 S/S (Room 1.22 in Cardiac Ward) | Main LV panel | 11
|  | 1st floor | DB-GLPE1 | St Lukes 1 S/S (Room 1.22 in Cardiac Ward) | Main LV panel | 50
|  | 1st floor | DB-GLPE2 | Cardiac Ward electrical Cupboard (Room 1.48) | Main LV panel | 42
|  | 1st floor | DB-GLPE3 | WRVS shop (Room 1.15) | Main LV panel | 7
|  | 2nd floor | DB-FLPE1 | Guiting ward store cupboard (Room 2.23) | Main LV panel | 31
|  | 2nd floor | DB-FLPE2 | Guiting ward electrical cupboard (Room 2.47) | Main LV panel | 41
|  | 3rd floor | DB-SLPE1 | Cranham ward corridor (Room 3.30) | Main LV panel | 42
|  | 3rd floor | DB-SLPE2 | Knightsbridge ward electrical cupboard (Room 3.59) | Main LV panel | 40
|  | 4th floor | DB-RLPE1 | Plant room (Room 4.02) | Main LV panel | 13
|  | 4th floor | DB-LDBE (Right) | Lift plant room (Room 4.01) | DB-RLPE1 | 5
|  | 4th floor | DB-LDBE (Left) | Lift plant room (Room 4.01) | DB-RLPE1 | 5
2027 | Parkside | Ground floor | Main LV panel | Electrical cupboard (0.04) | Street (National Grid) | 6 | 71
|  | Ground floor | DB1 | Electrical cupboard (0.04) | Main panel | 33
|  | Ground floor | DB2 | Store room (0.27) | Main panel | 30
|  | Ground floor (Outside) | DB2/9GY | External garden shed | DB2 | 2
2027 | Boiler House | Ground floor | Boiler House Sub panel 1 | Boiler House | College Road Wing LV S/S | 7 | 41
|  | Ground floor | Boiler House Sub panel 2 | Boiler House | College Road Wing LV S/S | 4
|  | Ground floor | DB 1 | Boiler House | Boiler House Sub panel 1 | 19
|  | Ground floor | DB 2 | Boiler House | Boiler House Sub panel 2 | 11
2027 | College Baths | Ground floor | Main Busbar | External plant room (Room CB 0.01) | Street (National Grid) | 6 | 90
|  | Ground floor | DB 4 | External plant room (Room CB 0.01) | Main Busbar | 3
|  | Ground floor | DB 5 | UPS room (CB 0.13) | Main Busbar | 28
|  | Ground floor | DB 1 | Outside kitchen (CB 0.06) | Main Busbar | 38
|  | 1st floor | DB 2 | Kitchen area (CB 1.01) | Main Busbar | 15
2027 | Cunningham House | Ground floor | DB1 | Corridor (0.07) | Electrical cupboard | 15 | 35
|  | Ground floor | DB3 | Play room (0.12) | Electrical cupboard | 10
|  | 1st floor | DB2 | Corridor (1.04) | Electrical cupboard | 10
2028 | East Block | Ground floor | East Block A LV panel | Electrical switchroom (Compressor 0.145) | Centre Switchroom A | 9 | 344
|  | Ground floor | East Block B LV panel | Electrical switchroom (Compressor 0.145) | Centre Switchroom B | 7
|  | Ground floor | DB Compressor | Electrical switchroom (Compressor 0.145) | Centre Switchroom A | 6
|  | Ground floor | DB EB 1.1 | Corridor (0.147) | East Block A LV panel | 54
|  | Ground floor | DB 1.1/6 | Corridor (0.147) | DB EB 1.1 | 11
|  | Ground floor | DB 1.1/27L3 | Corridor (0.147) | DB EB 1.1 | 4
|  | Ground floor | DB 1.3/Y1 | OMF storeroom (0.150) | East Block B LV panel | 17
|  | Ground floor | DB 1.1/17 | Orthoptic storeroom (0.180) | DB EB 1.1 | 18
|  | Ground floor | DB EB 1.2 | Corridor (0.212) | East Block A LV panel | 22
|  | Ground floor | DB 1.3/Y3 | OMF storeroom (0.150) | DB 1.3/Y1 | 10
|  | Ground floor | DB 1.2/9 | Corridor (0.212) | ? | 17
|  | Ground floor | DB Car park office | Portacabin outside at main carpark | DB Compressor | 7
|  | Ground floor | DB PC2 | Portacabin outside at main carpark | DB Car park office | 6
|  | 1st floor | DB FE1 | Fairview ward storeroom (1.133) | East Block B LV panel | 15
|  | 1st floor | DB FE1 | Fairview ward storeroom (1.133) | East Block B LV panel | 46
|  | 1st floor | DB EB 1.3/Y4 | OMF Corridor (1.01) | DB 1.3/Y1 | 14
|  | 2nd floor | DB EE1 | Eyeford ward corridor (2.15) | East Block B LV panel | 21
|  | 2nd floor | DB OTE1 | Eyeford ward theatre storeroom (2.19) | East Block B LV panel | 31
|  | 4th floor | DB 01 | Roof plant room (3.02) | East Block B LV panel | 3
|  | 4th floor | DB 02 | Roof plant room (3.02) | DB 01 | 8
|  | 4th floor | DB Lift 2 | Roof plant room (3.03) | DB 01 | 6
|  | 4th floor | DB PR | Roof plant room (3.04) | East Block B LV panel | 12
2028 | Oncology & LEN | Ground floor | Oncology LV panel section 1 | Oncology LV switchroom adj DSU HV substation (0.25) | DSU LV panel | 11 | 653
|  | Ground floor | Oncology LV panel section 2 | Oncology LV switchroom adj DSU HV substation (0.25) | DSU LV panel | 6
|  | Ground floor | GLPO1 | Lilleybrook ward electrical cupboard (Room 0.19A) | Oncology LV panel section 1 | 2
|  | Ground floor | GLPE | Lilleybrook ward electrical cupboard (Room 0.19A) | GLPO1 | 34
|  | Ground floor | GLPNE | Lilleybrook ward electrical cupboard (Room 0.19A) | GLPO1 | 16
|  | Ground floor | GLPO2 | Worcester waiting area electrical cupboard (0.63) | Oncology LV panel section 1 | 2
|  | Ground floor | DB GLPNE2 | Worcester waiting area electrical cupboard (0.63) | GLPO2 | 17
|  | Ground floor | DB GLPE2 | Worcester waiting area electrical cupboard (0.63) | GLPO2 | 21
|  | Ground floor | DB CTO A/B | CT control room (0.66) | Oncology LV panel section 1 | 26
|  | Ground floor | GLPO3 | Chemotherapy OPD electrical cupboard (0.105) | Oncology LV panel section 1 | 2
|  | Ground floor | GLPE3 | Chemotherapy OPD electrical cupboard (0.105) | GLPO3 | 16
|  | Ground floor | DB GLPNE3 | Chemotherapy OPD electrical cupboard (0.105) | GLPO3 | 20
|  | Ground floor | DB GLPO4 | Linic 19 modulator room (0.136) | DB RT/RTA Incomer | 22
|  | Ground floor | DB GLPE6 | Linic 19 modulator room (0.136) | DB RT/RTA Incomer | 22
|  | Ground floor | GLPO5 | Modulator room (0.130) | DB RT/RTA Incomer
|  | Ground floor | DB GLPE5 | Modulator room (0.130) | GLPO5 | 20
|  | Ground floor | DB GLPNE5 | Modulator room (0.130) | GLPO5 | 23
|  | Ground floor | DB RT/RTA Incomer | Modulator room (0.130) | Oncology LV panel section 1 | 7
|  | Ground floor | DB G1 | Switchroom behind main waiting area reception (0.161) | LEN main LV panel section 1 | 29
|  | Ground floor | DB G2 | Switchroom behind main waiting area reception (0.161) | LEN main LV panel section 3 | 31
|  | Ground floor | DB E3 | Oncology enginners mechanical workshop (0.159) | LEN main LV panel section 4 | 8
|  | Ground floor | DB Hub room | Oncology engineers IT Hub (0.163) | LEN main LV panel section 1 | 3
|  | Ground floor | Linac DB L2 | Linac 9 bunker desk (0.175) | LEN main LV panel section 3 | 11
|  | Ground floor | Linac DB L1 | Linac 10 bunker desk (0.116) | LEN main LV panel section 1 | 7
|  | 1st floor | FLPO1 | Rendcomb ward electrical cupboard (1.43) | Oncology LV panel section 1 | 2
|  | 1st floor | DB FLPE1 | Rendcomb ward electrical cupboard (1.43) | FLPO1 | 34
|  | 1st floor | DB FLPNE1 | Rendcomb ward electrical cupboard (1.43) | FLPO1 | 9
|  | 1st floor | DB FLPE2 | Rendcomb siderooms electrical cupboard (1.74) | Oncology LV panel section 1 | 24
|  | 1st floor | DB UPS | Rendcomb siderooms electrical cupboard (1.74) | DB FLPE2 | 4
|  | 1st floor | FLPO3 | Corridor between Endoscopy and Nuclear med (1.12) | Oncology LV panel section 1 | 2
|  | 1st floor | DB FLPNE3 | Corridor between Endoscopy and Nuclear med (1.12) | FLPO3 | 12
|  | 1st floor | DB FLPE3 | Corridor between Endoscopy and Nuclear med (1.12) | FLPO3 | 32
|  | 1st floor | DB 11 | Endoscopy electrical cupboard (1.149) | LEN main LV panel section 1 | 30
|  | 1st floor | DB 12 | Endoscopy electrical cupboard (1.149) | LEN main LV panel section 3 | 17
|  | 1st floor | DB 13 | Decontamination dirty room (1.133) | Oncology LV panel section 1 | 13
|  | 2nd floor | SLPO1 | Oncology medical secretaries electrical cupboard (2.20) | Oncology LV panel section 1 | 2
|  | 2nd floor | DB SLPE1 | Oncology medical secretaries electrical cupboard (2.20) | SLPO1 | 30
|  | 2nd floor | DB SLPNE1 | Oncology medical secretaries electrical cupboard (2.20) | SLPO1 | 17
|  | 2nd floor | PLPO1 | Oncology plant room (2.14) | Oncology LV panel section 2 | 2
|  | 2nd floor | DB PRLPE1 | Oncology plant room (2.14) | PLPO1 | 15
|  | 2nd floor | DB PRLPNE1 | Oncology plant room (2.14) | PLPO1 | 6
|  | 3rd floor | LEN main LV panel section 1 | LEN LV switchroom (2.73) | LEN LV panel | 7
|  | 3rd floor | LEN main LV panel section 2 | LEN LV switchroom (2.73) | LEN LV panel | 6
|  | 3rd floor | LEN main LV panel section 3 | LEN LV switchroom (2.73) | LEN LV panel | 8
|  | 3rd floor | LEN main LV panel section 4 | LEN LV switchroom (2.73) | LEN LV panel | 3
|  | 3rd floor | DB R1 | LEN roof plant room (2.72) | LEN main LV panel section 2 | 18
|  | 3rd floor | DB R1A | LEN roof plant room (2.72) | DB R1 | 4
2028 | Pathology & Linc | Ground floor | Main LV Panel PL1 | Pathology LV switchroom (0.79) | College Road Wing LV S/S | 8 | 380
|  | Ground floor | Main LV Panel PL2 | Pathology LV switchroom (0.79) inc 2 x internal DB's | Main LV Panel PL1 | 62
|  | Ground floor | DB PLDB1 | Linc OPD electrical cupboard (0.72) | Main LV Panel PL1 | 54
|  | Ground floor | DB body store | Mortuary body storeroom (0.46) | DB G2-E | 4
|  | Ground floor | DB G2-NE | Male changing room (0.37) | Main LV Panel PL2 | 21
|  | Ground floor | DB G2-E | Male changing room (0.37) | Main LV Panel PL2 | 20
|  | 1st floor | DB F1-E | Pathology electrical cupboard (1.07) | Main LV Panel PL2 | 48
|  | 1st floor | DB F1-NE | Pathology electrical cupboard (1.07) | Main LV Panel PL2 | 26
|  | 1st floor | DB F2-E | Pathology electrical cupboard (1.38) | Main LV Panel PL2 | 42
|  | 1st floor | DB F2-NE | Pathology electrical cupboard (1.38) | Main LV Panel PL2 | 26
|  | 1st floor | DB 1.24 | Analysis room (1.24) | Main LV Panel PL1 | 9
|  | 1st floor | DB post room | ? | Main LV Panel PL2 | 22
|  | 2nd floor | DB S2-NE | Roof plant room (2.03) | Main LV Panel PL1 | 17
|  | 2nd floor | DB LP-NE | Roof plant room (2.03) | Main LV Panel PL2 | 12
|  | 2nd floor | DB LMR1 | Lift motor room inside roof plant room (2.01) | Main LV Panel PL2 | 6
|  | 2nd floor | DB LMR2 | Lift motor room inside roof plant room (2.02) | Main LV Panel PL2 | 3
2028 | West Block, Link corridor & Fluid store | Lower Ground floor | DB 1 Outpatients | Outpatients Clinic A (0.27) | Westblock Centre Switchroom | 21 | 372
|  | Lower Ground floor | DB 2 | Outpatients Corridor General Store (0.57) | Westblock Centre Switchroom | 27
|  | Lower Ground floor | DB 3 Outpatients | Outpatients Corridor General Store (0.57) | Westblock Centre Switchroom | 14
|  | Lower Ground floor | DB CM/G/DB P1 | Physiotherapy electrical cupboard (1.23) | CB/G/DBM 1 | 25
|  | Lower Ground floor | DB CB/G/DB L1 | Physiotherapy electrical cupboard (1.23) | CB/G/DBM 1 | 11
|  | Lower Ground floor | CB/G/DBM 1 | Physiotherapy electrical cupboard (1.23) | Centre Switchroom B | 6
|  | Lower Ground floor | DB CB/G/DB P1 | Physiotherapy electrical cupboard (1.23) | CB/G/DBM 1 | 21
|  | Lower Ground floor | DB 1 | Westblock centre switchroom (0.97) | Westblock Centre Switchroom | 14
|  | Lower Ground floor | Westblock Centre Switchroom LV busbars | Westblock centre switchroom (0.97) | Centre Switchroom A | 14
|  | Lower Ground floor | DB CB/G/PL | Physiontherapy training room (1.22) | DB CB/G/DB L1 | 23
|  | Lower Ground floor | DB LPO 1A | Pharmacy dispensary lobby (0.79) | Westblock Centre Switchroom | 16
|  | Lower Ground floor | DB LPO 1B | Pharmacy dispensary lobby (0.79) | Westblock Centre Switchroom | 21
|  | Lower Ground floor | DB LPO 2A | Pharmacy store (0.94) | Westblock Centre Switchroom | 5
|  | Lower Ground floor | DB LPO 2B | Pharmacy store (0.94) | Westblock Centre Switchroom | 9
|  | Lower Ground floor | DB Robot | Pharmacy store (0.94) | DB LPO 1A | 3
|  | Lower Ground floor | DB Pacing Clinic | Pacing Clinic 2 (0.68) | Westblock Centre Switchroom | 12
|  | Upper Ground floor | DB Prestbury | Corridor outside Prestbury clinic (1.28) | Westblock LV panel | 28
|  | Upper Ground floor | DB CB/G/DBM 1 | Blue spa washroom (1.109) | CB/G/DBM 1 | 20
|  | Upper Ground floor | DB KS6 | Blue spa kitchen (1.106) | CB/G/DBM 1 | 25
|  | Upper Ground floor | DB Chapel | Chaplains office (1.112) | DB KS6 | 4
|  | 1st floor | WB3/DB2 | Clearners store room (2.169) | Westblock LV panel | 53
| Retest Year | Total Circuits
| 2024 | 1242
| 2025 | 1612
| 2026 | 880
| 2027 | 237
| 2028 | 1749